## DOS-Supply Air_RVT2019_V1-0
| Model##OTHER## | L##OTHER## | H##OTHER## | B##OTHER## | D##OTHER## | Visibility_LDA_1##OTHER## | Visibility_LDA_2##OTHER## | Visibility_LDA_3##OTHER## | Visibility_LDA_4##OTHER## | 1_connector##OTHER## | 2_connector##OTHER## | HVAC_Airflow Vmin##OTHER## | HVAC_Airflow Vmax##OTHER## | Insulation filter##OTHER## | Family load status##OTHER##
LDA-1-585-RAL+PBL-A-Z | LDA-1-585-RAL+PBL-A | 585 | 240 | 72 | 125 | 1 | 0 | 0 | 0 | 1 | 0 | 40 | 300 | Z | Valid - Type loaded via type catalog
LDA-1-885-RAL+PBL-A-Z | LDA-1-885-RAL+PBL-A | 885 | 240 | 72 | 125 | 1 | 0 | 0 | 0 | 1 | 0 | 40 | 300 | Z | Valid - Type loaded via type catalog
LDA-1-1000-RAL+PBL-A-Z | LDA-1-1000-RAL+PBL-A | 1000 | 240 | 72 | 125 | 1 | 0 | 0 | 0 | 1 | 0 | 40 | 300 | Z | Valid - Type loaded via type catalog
LDA-1-1185-RAL+PBL-A-Z | LDA-1-1185-RAL+PBL-A | 1185 | 240 | 72 | 160 | 1 | 0 | 0 | 0 | 1 | 0 | 40 | 300 | Z | Valid - Type loaded via type catalog
LDA-1-1485-RAL+PBL-A-Z | LDA-1-1485-RAL+PBL-A | 1485 | 240 | 72 | 125 | 1 | 0 | 0 | 0 | 0 | 1 | 40 | 300 | Z | Valid - Type loaded via type catalog
LDA-1-1785-RAL+PBL-A-Z | LDA-1-1785-RAL+PBL-A | 1785 | 240 | 72 | 125 | 1 | 0 | 0 | 0 | 0 | 1 | 40 | 300 | Z | Valid - Type loaded via type catalog
LDA-2-585-RAL+PBL-A-Z | LDA-2-585-RAL+PBL-A | 585 | 280 | 102 | 160 | 0 | 1 | 0 | 0 | 1 | 0 | 40 | 400 | Z | Valid - Type loaded via type catalog
LDA-2-885-RAL+PBL-A-Z | LDA-2-885-RAL+PBL-A | 885 | 280 | 102 | 160 | 0 | 1 | 0 | 0 | 1 | 0 | 40 | 400 | Z | Valid - Type loaded via type catalog
LDA-2-1000-RAL+PBL-A-Z | LDA-2-1000-RAL+PBL-A | 1000 | 280 | 102 | 160 | 0 | 1 | 0 | 0 | 1 | 0 | 40 | 400 | Z | Valid - Type loaded via type catalog
LDA-2-1185-RAL+PBL-A-Z | LDA-2-1185-RAL+PBL-A | 1185 | 280 | 102 | 200 | 0 | 1 | 0 | 0 | 1 | 0 | 40 | 400 | Z | Valid - Type loaded via type catalog
LDA-2-1485-RAL+PBL-A-Z | LDA-2-1485-RAL+PBL-A | 1485 | 280 | 102 | 160 | 0 | 1 | 0 | 0 | 0 | 1 | 40 | 400 | Z | Valid - Type loaded via type catalog
LDA-2-1785-RAL+PBL-A-Z | LDA-2-1785-RAL+PBL-A | 1785 | 280 | 102 | 160 | 0 | 1 | 0 | 0 | 0 | 1 | 40 | 400 | Z | Valid - Type loaded via type catalog
LDA-3-585-RAL+PBL-A-Z | LDA-3-585-RAL+PBL-A | 585 | 325 | 132 | 160 | 0 | 0 | 1 | 0 | 1 | 0 | 50 | 600 | Z | Valid - Type loaded via type catalog
LDA-3-885-RAL+PBL-A-Z | LDA-3-885-RAL+PBL-A | 885 | 325 | 132 | 200 | 0 | 0 | 1 | 0 | 1 | 0 | 50 | 600 | Z | Valid - Type loaded via type catalog
LDA-3-1000-RAL+PBL-A-Z | LDA-3-1000-RAL+PBL-A | 1000 | 325 | 132 | 200 | 0 | 0 | 1 | 0 | 1 | 0 | 50 | 600 | Z | Valid - Type loaded via type catalog
LDA-3-1185-RAL+PBL-A-Z | LDA-3-1185-RAL+PBL-A | 1185 | 325 | 132 | 200 | 0 | 0 | 1 | 0 | 1 | 0 | 50 | 600 | Z | Valid - Type loaded via type catalog
LDA-3-1485-RAL+PBL-A-Z | LDA-3-1485-RAL+PBL-A | 1485 | 325 | 132 | 160 | 0 | 0 | 1 | 0 | 0 | 1 | 50 | 600 | Z | Valid - Type loaded via type catalog
LDA-3-1785-RAL+PBL-A-Z | LDA-3-1785-RAL+PBL-A | 1785 | 325 | 132 | 160 | 0 | 0 | 1 | 0 | 0 | 1 | 50 | 600 | Z | Valid - Type loaded via type catalog
LDA-4-585-RAL+PBL-A-Z | LDA-4-585-RAL+PBL-A | 585 | 325 | 162 | 200 | 0 | 0 | 0 | 1 | 1 | 0 | 50 | 800 | Z | Valid - Type loaded via type catalog
LDA-4-885-RAL+PBL-A-Z | LDA-4-885-RAL+PBL-A | 885 | 325 | 162 | 200 | 0 | 0 | 0 | 1 | 1 | 0 | 50 | 800 | Z | Valid - Type loaded via type catalog
LDA-4-1000-RAL+PBL-A-Z | LDA-4-1000-RAL+PBL-A | 1000 | 325 | 162 | 200 | 0 | 0 | 0 | 1 | 1 | 0 | 50 | 800 | Z | Valid - Type loaded via type catalog
LDA-4-1185-RAL+PBL-A-Z | LDA-4-1185-RAL+PBL-A | 1185 | 325 | 162 | 200 | 0 | 0 | 0 | 1 | 1 | 0 | 50 | 800 | Z | Valid - Type loaded via type catalog
LDA-4-1485-RAL+PBL-A-Z | LDA-4-1485-RAL+PBL-A | 1485 | 325 | 162 | 160 | 0 | 0 | 0 | 1 | 0 | 1 | 50 | 800 | Z | Valid - Type loaded via type catalog
LDA-4-1785-RAL+PBL-A-Z | LDA-4-1785-RAL+PBL-A | 1785 | 325 | 162 | 200 | 0 | 0 | 0 | 1 | 0 | 1 | 50 | 800 | Z | Valid - Type loaded via type catalog
LDA-1-585-RAL+PBL-A | LDA-1-585-RAL+PBL-A | 585 | 240 | 72 | 125 | 1 | 0 | 0 | 0 | 1 | 0 | 40 | 300 |  | Valid - Type loaded via type catalog
LDA-1-885-RAL+PBL-A | LDA-1-885-RAL+PBL-A | 885 | 240 | 72 | 125 | 1 | 0 | 0 | 0 | 1 | 0 | 40 | 300 |  | Valid - Type loaded via type catalog
LDA-1-1000-RAL+PBL-A | LDA-1-1000-RAL+PBL-A | 1000 | 240 | 72 | 125 | 1 | 0 | 0 | 0 | 1 | 0 | 40 | 300 |  | Valid - Type loaded via type catalog
LDA-1-1185-RAL+PBL-A | LDA-1-1185-RAL+PBL-A | 1185 | 240 | 72 | 160 | 1 | 0 | 0 | 0 | 1 | 0 | 40 | 300 |  | Valid - Type loaded via type catalog
LDA-1-1485-RAL+PBL-A | LDA-1-1485-RAL+PBL-A | 1485 | 240 | 72 | 125 | 1 | 0 | 0 | 0 | 0 | 1 | 40 | 300 |  | Valid - Type loaded via type catalog
LDA-1-1785-RAL+PBL-A | LDA-1-1785-RAL+PBL-A | 1785 | 240 | 72 | 125 | 1 | 0 | 0 | 0 | 0 | 1 | 40 | 300 |  | Valid - Type loaded via type catalog
LDA-2-585-RAL+PBL-A | LDA-2-585-RAL+PBL-A | 585 | 280 | 102 | 160 | 0 | 1 | 0 | 0 | 1 | 0 | 40 | 400 |  | Valid - Type loaded via type catalog
LDA-2-885-RAL+PBL-A | LDA-2-885-RAL+PBL-A | 885 | 280 | 102 | 160 | 0 | 1 | 0 | 0 | 1 | 0 | 40 | 400 |  | Valid - Type loaded via type catalog
LDA-2-1000-RAL+PBL-A | LDA-2-1000-RAL+PBL-A | 1000 | 280 | 102 | 160 | 0 | 1 | 0 | 0 | 1 | 0 | 40 | 400 |  | Valid - Type loaded via type catalog
LDA-2-1185-RAL+PBL-A | LDA-2-1185-RAL+PBL-A | 1185 | 280 | 102 | 200 | 0 | 1 | 0 | 0 | 1 | 0 | 40 | 400 |  | Valid - Type loaded via type catalog
LDA-2-1485-RAL+PBL-A | LDA-2-1485-RAL+PBL-A | 1485 | 280 | 102 | 160 | 0 | 1 | 0 | 0 | 0 | 1 | 40 | 400 |  | Valid - Type loaded via type catalog
LDA-2-1785-RAL+PBL-A | LDA-2-1785-RAL+PBL-A | 1785 | 280 | 102 | 160 | 0 | 1 | 0 | 0 | 0 | 1 | 40 | 400 |  | Valid - Type loaded via type catalog
LDA-3-585-RAL+PBL-A | LDA-3-585-RAL+PBL-A | 585 | 325 | 132 | 160 | 0 | 0 | 1 | 0 | 1 | 0 | 50 | 600 |  | Valid - Type loaded via type catalog
LDA-3-885-RAL+PBL-A | LDA-3-885-RAL+PBL-A | 885 | 325 | 132 | 200 | 0 | 0 | 1 | 0 | 1 | 0 | 50 | 600 |  | Valid - Type loaded via type catalog
LDA-3-1000-RAL+PBL-A | LDA-3-1000-RAL+PBL-A | 1000 | 325 | 132 | 200 | 0 | 0 | 1 | 0 | 1 | 0 | 50 | 600 |  | Valid - Type loaded via type catalog
LDA-3-1185-RAL+PBL-A | LDA-3-1185-RAL+PBL-A | 1185 | 325 | 132 | 200 | 0 | 0 | 1 | 0 | 1 | 0 | 50 | 600 |  | Valid - Type loaded via type catalog
LDA-3-1485-RAL+PBL-A | LDA-3-1485-RAL+PBL-A | 1485 | 325 | 132 | 160 | 0 | 0 | 1 | 0 | 0 | 1 | 50 | 600 |  | Valid - Type loaded via type catalog
LDA-3-1785-RAL+PBL-A | LDA-3-1785-RAL+PBL-A | 1785 | 325 | 132 | 160 | 0 | 0 | 1 | 0 | 0 | 1 | 50 | 600 |  | Valid - Type loaded via type catalog
LDA-4-585-RAL+PBL-A | LDA-4-585-RAL+PBL-A | 585 | 325 | 162 | 200 | 0 | 0 | 0 | 1 | 1 | 0 | 50 | 800 |  | Valid - Type loaded via type catalog
LDA-4-885-RAL+PBL-A | LDA-4-885-RAL+PBL-A | 885 | 325 | 162 | 200 | 0 | 0 | 0 | 1 | 1 | 0 | 50 | 800 |  | Valid - Type loaded via type catalog
LDA-4-1000-RAL+PBL-A | LDA-4-1000-RAL+PBL-A | 1000 | 325 | 162 | 200 | 0 | 0 | 0 | 1 | 1 | 0 | 50 | 800 |  | Valid - Type loaded via type catalog
LDA-4-1185-RAL+PBL-A | LDA-4-1185-RAL+PBL-A | 1185 | 325 | 162 | 200 | 0 | 0 | 0 | 1 | 1 | 0 | 50 | 800 |  | Valid - Type loaded via type catalog
LDA-4-1485-RAL+PBL-A | LDA-4-1485-RAL+PBL-A | 1485 | 325 | 162 | 160 | 0 | 0 | 0 | 1 | 0 | 1 | 50 | 800 |  | Valid - Type loaded via type catalog
LDA-4-1785-RAL+PBL-A | LDA-4-1785-RAL+PBL-A | 1785 | 325 | 162 | 200 | 0 | 0 | 0 | 1 | 0 | 1 | 50 | 800 |  | Valid - Type loaded via type catalog

## Sheet1
LDA-1-585-RAL+PBL-A | LDA-1-585-RAL+PBL-A | 585 | 240 | 72 | 125 | 1 | 0 | 0 | 0 | 1 | 0 | 40 | 300 | Valid - Type loaded via type catalog
LDA-1-885-RAL+PBL-A | LDA-1-885-RAL+PBL-A | 885 | 240 | 72 | 125 | 1 | 0 | 0 | 0 | 1 | 0 | 40 | 300 | Valid - Type loaded via type catalog
LDA-1-1000-RAL+PBL-A | LDA-1-1000-RAL+PBL-A | 1000 | 240 | 72 | 125 | 1 | 0 | 0 | 0 | 1 | 0 | 40 | 300 | Valid - Type loaded via type catalog
LDA-1-1185-RAL+PBL-A | LDA-1-1185-RAL+PBL-A | 1185 | 240 | 72 | 160 | 1 | 0 | 0 | 0 | 1 | 0 | 40 | 300 | Valid - Type loaded via type catalog
LDA-1-1485-RAL+PBL-A | LDA-1-1485-RAL+PBL-A | 1485 | 240 | 72 | 125 | 1 | 0 | 0 | 0 | 0 | 1 | 40 | 300 | Valid - Type loaded via type catalog
LDA-1-1785-RAL+PBL-A | LDA-1-1785-RAL+PBL-A | 1785 | 240 | 72 | 125 | 1 | 0 | 0 | 0 | 0 | 1 | 40 | 300 | Valid - Type loaded via type catalog
LDA-2-585-RAL+PBL-A | LDA-2-585-RAL+PBL-A | 585 | 280 | 102 | 160 | 0 | 1 | 0 | 0 | 1 | 0 | 40 | 400 | Valid - Type loaded via type catalog
LDA-2-885-RAL+PBL-A | LDA-2-885-RAL+PBL-A | 885 | 280 | 102 | 160 | 0 | 1 | 0 | 0 | 1 | 0 | 40 | 400 | Valid - Type loaded via type catalog
LDA-2-1000-RAL+PBL-A | LDA-2-1000-RAL+PBL-A | 1000 | 280 | 102 | 160 | 0 | 1 | 0 | 0 | 1 | 0 | 40 | 400 | Valid - Type loaded via type catalog
LDA-2-1185-RAL+PBL-A | LDA-2-1185-RAL+PBL-A | 1185 | 280 | 102 | 200 | 0 | 1 | 0 | 0 | 1 | 0 | 40 | 400 | Valid - Type loaded via type catalog
LDA-2-1485-RAL+PBL-A | LDA-2-1485-RAL+PBL-A | 1485 | 280 | 102 | 160 | 0 | 1 | 0 | 0 | 0 | 1 | 40 | 400 | Valid - Type loaded via type catalog
LDA-2-1785-RAL+PBL-A | LDA-2-1785-RAL+PBL-A | 1785 | 280 | 102 | 160 | 0 | 1 | 0 | 0 | 0 | 1 | 40 | 400 | Valid - Type loaded via type catalog
LDA-3-585-RAL+PBL-A | LDA-3-585-RAL+PBL-A | 585 | 325 | 132 | 160 | 0 | 0 | 1 | 0 | 1 | 0 | 50 | 600 | Valid - Type loaded via type catalog
LDA-3-885-RAL+PBL-A | LDA-3-885-RAL+PBL-A | 885 | 325 | 132 | 200 | 0 | 0 | 1 | 0 | 1 | 0 | 50 | 600 | Valid - Type loaded via type catalog
LDA-3-1000-RAL+PBL-A | LDA-3-1000-RAL+PBL-A | 1000 | 325 | 132 | 200 | 0 | 0 | 1 | 0 | 1 | 0 | 50 | 600 | Valid - Type loaded via type catalog
LDA-3-1185-RAL+PBL-A | LDA-3-1185-RAL+PBL-A | 1185 | 325 | 132 | 200 | 0 | 0 | 1 | 0 | 1 | 0 | 50 | 600 | Valid - Type loaded via type catalog
LDA-3-1485-RAL+PBL-A | LDA-3-1485-RAL+PBL-A | 1485 | 325 | 132 | 160 | 0 | 0 | 1 | 0 | 0 | 1 | 50 | 600 | Valid - Type loaded via type catalog
LDA-3-1785-RAL+PBL-A | LDA-3-1785-RAL+PBL-A | 1785 | 325 | 132 | 160 | 0 | 0 | 1 | 0 | 0 | 1 | 50 | 600 | Valid - Type loaded via type catalog
LDA-4-585-RAL+PBL-A | LDA-4-585-RAL+PBL-A | 585 | 325 | 162 | 200 | 0 | 0 | 0 | 1 | 1 | 0 | 50 | 800 | Valid - Type loaded via type catalog
LDA-4-885-RAL+PBL-A | LDA-4-885-RAL+PBL-A | 885 | 325 | 162 | 200 | 0 | 0 | 0 | 1 | 1 | 0 | 50 | 800 | Valid - Type loaded via type catalog
LDA-4-1000-RAL+PBL-A | LDA-4-1000-RAL+PBL-A | 1000 | 325 | 162 | 200 | 0 | 0 | 0 | 1 | 1 | 0 | 50 | 800 | Valid - Type loaded via type catalog
LDA-4-1185-RAL+PBL-A | LDA-4-1185-RAL+PBL-A | 1185 | 325 | 162 | 200 | 0 | 0 | 0 | 1 | 1 | 0 | 50 | 800 | Valid - Type loaded via type catalog
LDA-4-1485-RAL+PBL-A | LDA-4-1485-RAL+PBL-A | 1485 | 325 | 162 | 160 | 0 | 0 | 0 | 1 | 0 | 1 | 50 | 800 | Valid - Type loaded via type catalog
LDA-4-1785-RAL+PBL-A | LDA-4-1785-RAL+PBL-A | 1785 | 325 | 162 | 200 | 0 | 0 | 0 | 1 | 0 | 1 | 50 | 800 | Valid - Type loaded via type catalog